Certiﬁcate of Analysis

**CATLAB, LLC**

19 Levesque Dr. #3

Eliot, ME 03903

207-200-9950

ME OCP: MTF368

**Client Name** Highbrow Industries LLC -

## Manufacturing

**Address** 55 Topsham Fair Mall Rd.

## Topsham, ME 04086

**Order ID** 2107

**License Number** AM544

**Phone** (207) 356-9377

**Sample Type** Semi-solid edibles

**Strain** FP Drink S:

## 16961

**Sample ID** 07732

**METRC Sample ID** 1A40D0300001451000016962

**Date Received** 07/05/2023

# Serving Mass (g)/ Package Collected Sample Weight

25.203 / 10

5 ea

# Date/Time of Collection

## 07/05/2023 11:00 AM

**Collected By** High Brow

**Date Generated** 07/13/2023

**Summary of Results**

|  |
| --- |
| **Filth and Foreign Materials Screening** |
| **All Results** | **Pass** |

|  |
| --- |
| **Microbiological Screening** |
| **All Results** | **Pass** |

|  |
| --- |
| **Heavy Metals Screening** |
| **All Results** | **Pass** |

**Potency Proﬁle**

**Cannabinoid Result mg/g**

CBDV < RL

**%RSD THC**

**%RSD CBD**

N/A

0.000

Pass/Fail Limit is 15%

**Homogeneity Proﬁle**

|  |  |
| --- | --- |
| **Pass/Fail** | **Pass** |

THCV < RL

CBDA < RL

CBD < RL

CBG < RL

CBN < RL

CBGA < RL

CBC < RL

exoTHC < RL

Δ9-THC 0.358

Δ8THC < RL

THCA < RL

**Total CBD mg/g** <RL

**Total THC mg/g** 0.358 | Pass

**Total CBD (mg/serving)** <RL

**Total CBD (mg/package)** <RL

**Total THC (mg/serving)** 9.02

**Total THC (mg/package)** 90.2

***Edibles Total THC Uncertainty: +/- 5.0% for 10mg Serving or 100mg Package***

***DISCLAIMER: mg/L=ppm, μg/L=ppb, “<” denotes “less than”, TNTC = Too Numerous To Count.*** *This report of analysis may not be modiﬁed in any way, or reproduced except in full, without written* approval from CATLAB, LLC. Results as reported relate only to samples as submitted on the chain of custody. All sample results are based on samples as they are received. Not all potential/existing hazards were tested. Unless otherwise noted, analyses were performed without signiﬁcant modiﬁcations and QC met the quality standards outlined in the methods reported. Measurement uncertainty is available upon request.

***The Reporting Limit (RL)*** *is the lowest level of an analyte that can be accurately recovered from the matrix of interest. The* ***Regulatory Limits (or Action Levels)*** *for adult use mandatory testing samples are set by the Maine Oﬃce of Cannabis Policy (OCP).* ***Total THC*** *= D-9-THC + (THCA x 0.877).* ***Total CBD*** *= CBD + (CBDA x 0.877).*

Page 1 of 4